## Slide 1: JPA-CAL
Using the Josephson Parametric Amplifier as a Cal standard

## Slide 2: JPA Model

## Slide 3: Measurement
JPA
MEMS Switch
Pump
Bias Tee
DC Flux Bias

## Slide 4: Measurement of S11 Corrected with MEMS E-Cal
Unwind to make fit tractable
Make range from 4- 5 GHz flat

## Slide 5: Unwrapped data, concatenated
REAL
IMAGINARY
Concatenate imaginary on top of real to make a function that can be fit with both real and imaginary
1100
1300

## Slide 6: Fit Using concatenated data and function

## Slide 7: Fits as Function of Flux Bias

## Slide 8: Fit Values for Capacitances

## Slide 9: Time Delay Fit

## Slide 10: Compare Theory to Data for fixed values of parameters

## Slide 11: Zoom In on Flux Bias and Frequency

## Slide 12: Amplitude

## Slide 13: Calculated standards curves

## Slide 14: South-West-And-North Calibration
NORTH
NORTH
SOUTH
SOUTH
WEST
WEST

## Slide 15: SWaN Cal In Scikit-RF

## Slide 16: Attempt to apply cal to raw data